FOUNDATION SAMPLE QUESTIONS

- Deep foundations are used for all of the following EXCEPT:

A. Supporting structures on weak soils

B. Transferring loads to lower, stronger soil layers

C. Providing stability in areas with high winds

D. Constructing foundations in shallow water depths

- Which type of pile is primarily designed to transfer loads directly to a strong, deep soil or rock layer?

A. End bearing pile

B. Friction pile

C. Sheet pile

D. Compaction pile

- Geosynthetics are a broad category of materials used in geotechnical engineering. They can be used for all of the following EXCEPT:

A. Reinforcing soil for steeper slopes

B. Filtering water while allowing soil movement

C. Creating impermeable barriers in landfills

D. Providing structural support for buildings

- Which type of pile is well-suited for situations where resisting lateral earth pressure from soil or water is the main function?

A. End bearing pile

B. Friction pile

C. Sheet pile

D. Batter pile

- When choosing a retaining wall system, a soldier pile wall with lagging is most suitable for:

A. Supporting deep excavations with limited space behind the wall.

B. Creating permanent retaining walls for highways.

C. Reinforcing existing slopes prone to landslides.

D. Building aesthetically pleasing retaining walls for gardens.

- In which type of soil conditions are compaction piles most effective?

A. Granular soils

B. Cohesive soils

C. Expansive soils

D. Organic soils

7. Which one of the following is not a problem associated with weak deposits soil?

A. High bearing capacity

B.  High seepage losses

C. Liquefaction during earthquake

D. Higher settlement

8. Which one of the following is not type of deep foundation

A. Isolated footing foundation    C. Pile  foundation

B. Piers foundation                     D. Cassions or Well foundation

9. Which one of the following is not advantages of cofferdams?

A. Provides safe environment to work

B.  Allow excavation and construction of structures

C. Materials can typically not be reused on other projects

D. Steel sheet piles are easily installed and removed

10.  which one is the following is filed test that used for determine the properties of soil.

A. Atterberg limit test       C. Direct shear test

B. Sieve analysis              D. Standard penetration test

11.  which one is the disadvantage of laboratory test?

A. Easier to analyze theoretically

B. Soil identification is possible

C. some disturbance

D. Drainage can be controlled

12. Which one is not  the purpose of ground investigation for construction.

A. To determine the bearing capacity of soil.

B. To predict the settlement of foundation.

C. To investigate the safety of the structure.

D. To decrease the safety of construction.

13. In the design of footing, determine the depth of the footing is very crucial. On what basis is depth fixed?

A. Punching shear and wide beam shear

B. Bending moment and Bond stress

C. Developmental length of footing

D. Shear force diagram

14.  Which one is the following is not type of shallow foundation.

A. Combined footing

B. Cantilever footing

C. Continuous or wall footing

D. Caisson or well

15. As an Engineer Isolated footing are required, when?

A. Small to medium size of structures

B. The structural loads are very high and soil conditions are poor

C. The space outside the exterior column is limited

16. Which one the following is the disadvantage of the precast concrete pile?

A. Corrosion resistant.

B.  Can be easily combined with a concrete superstructure

C. Difficult to transport

17. _________Piles that support load by the friction between the soil and the pile perimeter.

A.    End bearing piles                                                      B.  Compaction piles

C.    Friction piles                                                              D.  Anchor Piles

18. Which one of the following is the advantage of a timber pile?

A. Decays above water.

B. Cannot be driven in harder soils.

C. Cheap and economical in place where timber are available easily.

D. Lower material capacity.

19. ________It is made of a tree which is free from structural defects and properly trimmed.

A. Timber pile                                                    C. Pre-cast concrete pile

B. Concrete pile                                                  D. Steel pile

Answer Key

- C

- A

- D

- C

- A

- A

- A

- A

- C

- D

- C

- D

- A

- D

- A

- C

- C

- C

- A